Blue Bell Hill Primary School

SCHOOL ACCESS AUDIT CHECKLIST & Accessibility Plan

| Approved by: | Governors | Date: Feb 2025 |
| --- | --- | --- |
| Last reviewed on: | February 2025 |  |
| Next review due by: | February 2027 |  |

This free school access audit checklist may not be copied or reproduced by any means without prior written permission from Direct Access Consultancy Ltd. Express permission must be sought from Direct Access Consultancy prior to any part or wording of this free school access audit checklist report being published online. Unless otherwise agreed in writing by Direct Access Consultancy Ltd, no other party may use, make use of or rely on the contents of this report. Direct Access Consultancy Ltd accepts no liability for use of this checklist and this checklist does not and should not replace a professionally undertaken access audit report. If your school would like an access audit undertaken please visit our website www.accessaudits.com or contact us at 0845 056 4421. This access audit checklist should be used for guidance only.

School Access Audit Checklist  – Blue Bell Hill Primary School

| Question | Yes / No | Details |
| --- | --- | --- |
| Checklist 1 - Approach Routes & Street Furniture |  |  |
| 1.1 - Is the school within convenient walking distance of:- _ Public Highway and Pathways? _ Public Transport e.g. Bus Stops? _ Car parking? (For car parking refer to Checklist 2) | Yes | Our school is located at the top of a steep hill, which must be ascended to access the site. Parking is available with designated spaces reserved for those requiring disabled access. |
| 1.2 - Route free of kerbs? Do crossings on approach have tactile paving? If there are pedestrian crossings, do these have turn cones to aid people who are DeafBlind? | No | There is a traffic island in place rather than a formal pedestrian crossing. Kerbs are not uniformly level. |
| 1.3 - Wide enough? If a route or pathway is narrow, is there a suitable passing place for wheelchair users? Is plantation trimmed back and are low branches avoided? | Yes |  |
| 1.4 - Surfaces even and slip resistant? Is paving flush with no cracks or gaps that could trap the wheels of a wheelchair? | Yes |  |
| 1.5 - Is the location of the school clearly identified from the street? Visual clues and sufficient landmarks to aid orientation? | Yes | New signs enable visitors to see school clearly from both sides as they approach |
| 1.6 - Free from hazards such as bollards, litter bins? Are planting features kept to a minimum and are they colour contrasted? | Yes | Block paving marks edge of planting and edge of paths. |
| 1.7 - Free from hazardous building features such as outward- opening doors, windows or overhangs? Do columns or structural posts have markings at two heights? | Yes |  |
| 1.8 - Adequate seating provided along routes? Is there seating where parents wait to pick up / drop off their children? | Yes | Tables and chairs are currently provided during the summer months; consideration for future planning for all year round provision. |

| Checklist 2 - Car Parking |  |  |
| --- | --- | --- |
| 2.1 - Are accessible bays provided for badge holders? | Yes | Consideration to have the accessible bays re-marked next academic year. |
| 2.2 - Accessible bays clearly sign-posted from the school's car park entrance? Is there signage to the front of the bays? | No | Although accessible bays are clearly marked, future consideration to be given to parking bays being clearly signposted from the school’s car park entrance. |
| 2.3 - Are bays marked out appropriately and easily identified? Can car doors be fully opened to allow disabled drivers and passengers to transfer to a wheel chair parked alongside? | Yes | Consideration to have the accessible bays re-marked next academic year. |
| 2.4 - Close enough to facilities the car park serves? | Yes |  |
| 2.5 - Routes from parking area to school entrance accessible, with dropped kerbs and appropriate tactile warnings? Car park surface smooth, even and free from loose stones? | No | The car park gate requires modification to allow wheelchair users to access the school site independently. School is currently working with the Partnership to support with these changes. |
| 2.6 - For larger car parks, are safety marked out walking routes provided to guard slow moving persons or people with hearing impairments? | No | The existing path from the car park is uneven and requires improvement. School is currently working with the Partnership to support with these changes. |
| Checklist 3 - External Ramps |  |  |
| 3.1 - Wide enough and suitably graded? Is there colour contrast to the surface of the ramp? | Yes |  |
| 3.2 - Suitable handrails on each side? | Yes |  |
| 3.3 - Surface slip-resistant, firmly fixed and easy to maintain? | Yes |  |
| 3.4 - Edges protected to prevent accidents? | Yes |  |
| Checklist 4 - External Steps |  |  |
| 4.1 - Visual and tactile warnings at the top and bottom of steps? | No | Tactile and visual signage is in place. Further developments could include enhance the current visual signage further and investigating the current colour contrast. |

| 4.2 - Suitable handrails on each side? Are handrails suitably colour contrasted to aid people with impaired vision? | Yes |  |
| --- | --- | --- |
| 4.3 - Lighting adequate and well positioned? Are steps appropiately illuminated during darker hours? | Yes |  |
| 4.4 - Treads long enough and all of the same length? | Yes |  |
| 4.5 - Risers shallow enough, all of the same height, and unlikely to trip users? Are there open risers? | Yes |  |
| 4.6 - Nosings readily identifiable? If nosings are painted, is the paint still durable with no wear and tear? | No | Further investigations into the colour contrasts of the nosings. This is being completed with the FHP Site Team. |
| Checklist 5 - Entrances |  |  |
| 5.1 - Main school entrances easy to find? Is the entrance clearly distinguishable from facade? | Yes |  |
| 5.2 - Door opening wide enough for all users? Enough space alongside leading edge for a wheel chair user to open the door while clear of the door swing? | Yes |  |
| 5.3 - Level or flush threshold? | Yes |  |
| 5.4 - If there are steps at the main entrance, is there signage indicating where the accessible entrance is located? | No | The main entrance is clearly visible from the bottom of the steps. |
| 5.5 - Can people each side of the door, either standing or seated, see each other and be seen? If the entrance is solid, is this due to security concerns? | Yes |  |
| 5.6 - Door control at a suitable height for both standing and seated users? Are door handles clearly located, easy to use and grip? | Yes |  |

| 5.7 - Door closer of appropriate type? Can the door be easily opened single handedly? | Yes |  |
| --- | --- | --- |
| 5.8 - Entry phones and intercoms detailed to allow use by people with sensory or mobility impairments? Is there an LED display to accommodate people with hearing impairments? | No | The entry buzzer is positioned at a suitable height; further investigations to be considered in relation to LED displays. |
| 5.9 - Glazed entrance door: markings for safety and visibility? If manifestations are provided, are these suitably colour contrasted against their background? | Yes |  |
| 5.10 - Weather mat of firm texture and flush with floor? | Yes |  |
| Checklist 6 - Reception Areas and Lobbies |  |  |
| 6.1 - Clear view in from outside? Can receptionists see visitors and provide assistance if necessary? | Yes |  |
| 6.2 - Transitional lighting? Is the entrance lobby and reception area well illuminated? | Yes |  |
| 6.3 - Reception/desk/counter/ checkout suitable for approach and use from both sides by people either standing and seated? | Yes |  |
| 6.4 - Surfaces suitable? Is there colour contrast to the flooring in front of the reception desk and are edges highlighted? | Yes |  |
| 6.5 - Induction loop fitted? Is there signage indicating the availability of the facility? Are front line staff aware of the facility and its purpose? | No | Currently, there are no stakeholders who require a hearing loop. This is something that school is looking to implement next academic year and liaising with other schools with this facility. |
| Checklist 7 - Corridors and Internal Surfaces |  |  |
| 7.1 - Corridor wide enough for a wheel chair user to maneuver and for other people to pass? Turning space for wheel chair users? | Yes |  |

| 7.2 - Free from obstruction to wheel chair users and from hazards to people with impaired sight? Are there any internal columns that have a lack of colour contrast? | Yes | Liaise with FHP Site Team to see if this could be enhanced further. |
| --- | --- | --- |
| 7.3 - Are all key facilities within the school accessible for all users? Eg Sport Hall, Main Hall, Music Room, Changing Room etc. Where there are facilities not available can these be 'swopped' with a standard classroom? | Yes |  |
| 7.4 - Floor surfaces suitable for passage of wheelchairs? Junctions between floor surfaces correctly detailed? | Yes |  |
| 7.5 - Colours, tones and textures varied to help people distinguish between surfaces and fixtures and fittings? Do the floors suitably colour contrast against the walls (this can also be achieved by having well contrasted skirting boards) | Yes |  |
| 7.6 - Floor surfaces slip-resistant? Bright, boldly patterned floors avoided? Busy or distracting wall coverings avoided? | Yes | All surfaces around toilets and wet areas meet slip-resistance standards. Wall and corridor displays are carefully planned to ensure that they support the needs of all learners in school. |
| Checklist 8 - Internal Doors |  |  |
| 8.1 - Distinguishable from surroundings? | Yes |  |
| 8.2 - Glass door: clearly visible when closed? Are manifestations suitably colour contrasted against the background? | No | Internal doors with glass panels require the addition of appropriate markings to ensure visibility. |
| 8.3 - Can people each side of the door, either standing or seated, see each other and be seen? Are vision panels kept clear of temporary notices? (for an example classroom entrances) | Yes |  |
| 8.4 - Clear opening width sufficient for a wheel chair user? Adequate space available alongside leading edge for a wheel chair user to open the door while clear of the door swing? | Yes |  |

| 8.5 - Door control at a height suitable for both standing and seated users? Easily gripped and operated? Control clearly distinguishable from the door itself? | Yes |  |
| --- | --- | --- |
| 8.6 - Door light enough to open easily? Door closers of an appropriate type and with minimum necessary opening pressure? | Yes |  |
| Checklist 9 - Internal Ramps |  |  |
| 9.1 - Ramp available for short rise within single storey? | N/A |  |
| 9.2 - Wide enough and suitably graded? Surface slip resistant? | N/A |  |
| 9.3 - Exposed edges protected to prevent accidents? | N/A |  |
| 9.4 - Suitable handrail each side? | N/A |  |
| Checklist 10 - Internal Stairs |  |  |
| 10.1 - Treads long enough and each of same length? | N/A |  |
| 10.2 - Risers shallow enough, all of the same height, and unlikely to trip users? | N/A |  |
| 10.3 - Nosings readily identifiable? | N/A |  |
| 10.4 - Suitable handrails on each side? Do handrails extend 300mm beyond the first and last step pitch-line? Are handrails suitably colour contrasted? | N/A |  |
| 10.5 - Landings big enough and provided at intermediate levels in a long flight? | N/A |  |

| Checklist 11 - Lifts |  |  |
| --- | --- | --- |
| 11.1 - Passenger lift available for vertical circulation within a building of more than one storey? | N/A |  |
| 11.2 - Car dimensions sufficient to allow space for wheel chair user? Door opens wide enough for wheel chair users? | N/A |  |
| 11.3 - Support rails in car appropriately designed and positioned? | N/A |  |
| 11.4 - Is there a mirror within the lift car? | N/A |  |
| 11.5 - Delayed-action closer and override (not a door pressure system) to allow slow entry or exit? | N/A |  |
| 11.6 - Controls, including emergency call, located easily using visual or tactile information and within easy reach of all users? | N/A |  |
| 11.7 - Voice indication of floor reached? Is audio loud enough to be heard by hearing aid users? | N/A |  |
| 11.8 - Is there a floor level indicator inside and outside the lift to reassure people with hearing impairments? | N/A |  |
| Checklist 12 - WC Provision & Changing Areas |  |  |
| 12.1 - Lobby door light enough to open easily? Lobby of sufficient size for easy access? | Yes |  |
| 12.2 - Slip-resistant floors throughout? | Yes |  |
| 12.3 - Fittings all easily distinguishable from background? Are hand dryers and sanitary ware easily seen against their surroundings? | Yes |  |

| 12.4 - Compartment door controls all easily gripped and operated? Are cubicle doors suitably colour contrasted against the panels? | Yes |  |
| --- | --- | --- |
| 12.5 - Are urinals well contrasted and do they have grab rails to assist people with ambulant disabilities? | N/A |  |
| 12.6 - Are lever style taps provided within the WCs to aid people with dexterity impairments? | Yes |  |
| 12.7 - When there is no accessible WC available, is there a facility provided for people with ambulant disabilities? | N/A |  |
| 12.8 - Where there are shower facilities, is a grab rail provided? Is there a level access shower for disabled people? | No |  |
| Checklist 13 - WCs: Wheelchair Users |  |  |
| 13.1 - Compartment large enough to allow manoeuvring into position for frontal, lateral, angled and backward transfer unassisted and with assistance? | Yes |  |
| 13.2 - Travel distance to a suitable WC no greater that that for able-bodied people? | Yes |  |
| 13.3 - Sufficient space available outside toilet compartment for manoeuvre? Is the entrance wide enough and does it open outwards? | Yes |  |
| 13.4 - Hand washing and dry facilities within easy reach of someone seated on WC? Is the hand basin suitably positioned in accordance to BS8300? | Yes |  |
| 13.5 - Door controls, lock and light switch easily reached and operated? Is there a grab rail to the inner face of the entrance? | Yes |  |

| 13.6 - Tap appropriate for use by a person with limited dexterity, grip of strength? | Yes |  |
| --- | --- | --- |
| 13.7 - Suitably designed grab rails fitted in all positions necessary to assist manoeuvring? Are grab rails suitably colour contrasted to aid people with impaired vision? | Yes |  |
| 13.8 - Is there a back rest provided to the toilet pan? | Yes |  |
| 13.9 - Is the flush of a suitable spatula type and is it appropiately located on the transfer side of the toilet pan? | Yes |  |
| 13.10 - Is the transfer side of the toilet pan kept clear of any obstacles that may deny wheelchair users all of the transferring techniques in which an accessible WC is designed to provide? | Yes |  |
| 13.11 - Is there a cord alarm? Is this coloured red with two triangular bangles and easy to reach from floor level? | Yes |  |
| Checklist 14 - Facilities |  |  |
| 14.1 - Are seats provided at intervals along long internal routes or where waiting likely? Seats stable, with armrests and provided in a range of heights? Space for wheelchair user to pull up alongside a seated companion? | Yes |  |
| 14.2 - Are chairs with armrests provided within the Staff Room and other key locations such as meeting areas? | Yes | Sofas with arm rests |
| 14.3 - Are a number of chairs with armrests available within each classroom? | Yes | All teaching staff chairs are equipped with armrests, and chairs with armrests are provided for pupils assessed as needing this as an additional support. |
| 14.4 - Do dining room counters have provision on both sides for wheelchair users? Do these counters have an induction loop to accommodate hearing aid users? | No | Nottingham City Catering have been consulted to explore available alternatives should the need arise. |

| 14.5 - Do vending machines have all operating parts at less than 1200mm off the floor level and are they suitably colour contrasted? | N/A |  |
| --- | --- | --- |
| 14.6 - Does the dining room have appropriate seating rather than fixed seating which can be inaccessible for a range of users? | yes |  |
| 14.7 - Is there a dropped counter and an induction loop available for the Library counter? | N/A |  |
| 14.8 - Where there are IT facilities i.e. within classrooms and the Library (if applicable) are height adjustable computer desks available? | No | All new smart screens are height adjustable Computers are available at different heights around the school and most IT for children is delivered through iPads which are easily adapted. Office furniture is not fixed so could be replaced with suitable height furniture if required |
| 14.9 - In the Main Hall, is the stage raised? If so what is the current procedure for wheelchair users? For an example when receiving awards on Speech Day? | N/A |  |
| Checklist 15 - Way Finding |  |  |
| 15.1 - Overall layout of school reasonably clear and logical? Is there signage available in Braille and tactile? | No | The layout of the school is clear and logical – investigations into enhancing this further through tactile and Braille will be carried out. |
| 15.2 - On entering the reception area, are signs designed and located to convey information to visitors with sight impairments and wheel chair users with lower eye levels? | Yes | All signs at suitable height or in suitable font size |
| 15.3 - Are standard toilet facilities suitably signed? On approach and on the actual entrances? Are the locations of the accessible WC facilities suitably identified and located? Does signage have the International Symbol of Access? (Wheelchair symbol) | Yes | Toilet is clearly visible in reception area and are easily located in each base |
| 15.4 - Within stairwells are each of the levels clearly identifiable by tactile and visual information? | N/A |  |

| 15.5 - Are the location of the lifts clearly signed at key locations throughout the school? Is there lift signage near the reception area and on entry to key stairwells? | N/A |  |
| --- | --- | --- |
| Checklist 16 - Lighting & Acoustics |  |  |
| 16.1 - Lighting designed to meet a wide range of users needs? Level of lighting sufficient for intended use? Lights positioned where they do not cause glare, reflection, confusing shadows or pools of light and dark? | Yes – in most areas | In most areas of school new LED lighting is being used |
| 16.2 - Can occupiers control lighting? Are light switch plates suitably colour contrasted and appropriately positioned for a wheelchair user? | No | Although they are of suitable height they are not colour contrasted |
| 16.3 - Are classrooms appropriately illuminated and are blinds available to control the natural day lighting? Is glare avoided which can hinder attempts by people with hearing impairments to lip-read? | Yes |  |
| 16.4 - Quiet and noisy areas separated by a buffer zone? Environment free from unnecessary obtrusive noise (e.g. heating units)? | Yes |  |
| 16.5 - Good balance of hard and soft surfaces? | No | Work has been done in the Foundation Unit to improve the acoustics |
| 16.6 - Are induction loops fitted within the key areas i.e.- Main Hall, Sports Hall, key study areas e.g. Music Room. | No |  |
| Checklist 17 - Means of Escape |  |  |
| 17.1 - Audible alarm system supplemented by visual system? | Yes |  |
| 17.2 - Ground floor exit routes accessible to all, including wheel chair users, as entrance routes? | Yes |  |

| 17.3 - Once outside, can a wheelchair user get to a place of safety? Are pathways provided and are these wide enough? |  | Yes |  | All individuals can evacuate the building safely. Assistance would be required to navigate the gradient down to the lower playground. |  |
| --- | --- | --- | --- | --- | --- |
| 17.3 - Vertical escape from upper to lower floors possible using a fire-protected lift with an independent power supply? |  | N/A |  |  |  |
| 17.4 - If disabled people are unable to leave the building, is there a suitable refuge area? Is there an intercom provided within the refuge area and does this have accessible features such as an LED display? |  | Yes |  | Wheelchair users can exit the building independently but would need assistance navigating the hill down to the lower playground. |  |
| Checklist 18 - Building Management |  |  |  |  |  |
| 18.1 - External Routes; Including steps and ramps, kept clean, unobstructed and free from surface water, snow and ice? |  | Yes |  |  |  |
| 18.2 - Accessible parking; Designated spaces not used by non- disabled drivers and kept free from obstructions? |  | Yes |  |  |  |
| 18.3 - Horizontal circulation; Space required for wheel chair manoeuvre not obstructed by furniture, deliveries, storage etc.? |  | Yes |  |  |  |
| 18.4 - Vertical circulation; Lifts, platform lifts and stair lifts checked regularly for proper functioning? |  | N/A |  |  |  |
| 18.5 - Means of Escape; Exit routes checked regularly for freedom from obstacles (including locked doors) and combustible materials? Alarm systems, including those in WCs, regularly checked? |  | Yes |  |  |  |
| Checklist Checked by: | Rebecca Martin Lucy Harrison Daniel Harvey |  | Date |  | Feb 2025 |

Work will be undertaken over the next 12 months to address highlighted areas.  Agreed by Trustees